{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":24,"n_cols":7,"rows_kept":24,"merged":[[0,0,0,6],[1,0,1,6],[2,1,2,2],[3,1,4,1],[7,1,14,1],[16,1,18,1],[23,0,23,6]]}
["消防设施维保检测工作量汇总"]
["                                 统计时间：2025年10月10日"]
["序号","名称",null,"总数","单位","主要工作内容","备注"]
[1,"火灾报警系统","火灾报警控制器（主机、分机）",43,"台","1、日巡检；\n2、周巡查；\n3、月维护保养及修复。"]
[2,null,"火灾报警系统点位（烟感、温感、手报等探测报警及控制点位）",8573,"个","1、月度日常维护及修理；\n2、首月及年度全面测试，每2-11月份10%抽检测试。"]
[3,"应急广播","应急广播套数（电话基站）",31,"套","1、周巡查；\n2、月维护保养及修理。"]
[4,"消防直通电话","消防直通电话（分机数）",93,"个","1、周巡查；\n2、月维护保养及修理。"]
[5,"消防给水系统","消防泵站",6,"座","1、月度巡查；\n2、年度检测"]
[6,null,"地下消火栓",18,"个","1、月度巡查及修理；\n2、季度维护保养。"]
[7,null,"室外消火栓",605,"个","1、月度巡查及修理；\n2、季度维护保养。"]
[8,null,"室外消火栓箱",481,"个","月度巡查及修理。"]
[9,null,"室内及箱式消火栓",1665,"个","1、月度巡查及修理；\n2、季度维护保养。"]
[10,null,"室内及箱式消火栓箱",1665,"个","月度巡查及修理。"]
[11,null,"消防水炮",357,"门","1、月度巡查及修理；\n2、季度维护保养。"]
[12,null,"雨淋阀组",249,"套","1、月度巡查及修理；\n2、季度维护保养。"]
[13,"气体灭火系统","气体灭火系统套数",4,"套","季度抽检及年度测试"]
[14,"泡沫系统","泡沫站数量",7,"套","季度抽检及年度测试"]
[15,null,"泡沫栓",156,"个","1、月度巡查及修理；\n2、季度维护保养。"]
[16,null,"泡沫栓箱",156,"个","月度巡查及修理。"]
[17,"应急照明及疏散指示系统","应急照明灯具及疏散指示标志灯",1854,"个","1、月度巡查及修理；\n2、季度维护保养。"]
[18,"防排烟系统","防烟排烟风机数",22,"台","季度抽检及年度测试"]
[19,"防火分隔设施","防火门及防火卷帘",425,"樘","月度巡查及修理。"]
[20,"灭火器箱","手提式灭火器箱",3792,"个","月度巡查及修理。"]
["1、建筑内自喷系统喷头及各喷淋系统的水流指示器、压力表、电磁阀、水力警铃及喷头等日常维护、更换测试等工作量也包含在本次发包工作量中；\n2、本次发包签署合同的四个区域工作大概比例为：福建福海创石油化工有限公司74.3%；腾龙芳烃（漳州）有限公司14.3%；翔鹭码头投资管理（漳州）有限公司5.7%；福建省福化古蕾化学有限公司5.7%；\n3、本工作量属于暂估量，实际以现场实际工作量为准。"]